## Slide 1
P2P
ESPEasy P2P Networking
ESP32
smart-IR-Turbidimeter
smart-Colorimeter
smart-UV-Photometer
smart-ORP-Meter
smart-EC-Meter
smart-pH-Meter
ESP32
ESP32
ESP32
ESP32
ESP32
ESP32
P2P
P2P
P2P
P2P
P2P
MQTT-Broker
smart-Thermometer
P2P
smart-RGB-Photometer
IoT
Analyst
Database
ESP32
http

## Slide 2
Analyst
Database
MQTT-Broker
http
mqtt
ESP32
ESP32
ESP32
ESP32
ESP32
ESP32
ESP32
ESP32
smart-IR-Turbidimeter
smart-Colorimeter
smart-UV-Photometer
smart-ORP-Meter
smart-EC-Meter
smart-pH-Meter
smart-Thermometer
smart-RGB-Photometer
IoT
ESPEasy
P2P network
MQTT
subscribe
publish
http

## Slide 3
Empty Sample
Absorbance of complementary
colors
I0
IT
Monochromatic light of an defined range of wavelengths
d
ελ , c
Light sensor
Radiation
Source
Cuvette
Display and processing units
0.66484
Sample
Colored solution
λ
λ
Tλ, Eλ, SACλ, c
Beam angle
180 0
Transmitted light measurement

## Slide 4
Empty Sample
Absorbance of complementary
colors
I0
IT
Polychromatic light
d
ελ , c
RGB sensor
Radiation
Source
Cuvette
Display and processing units
X: 0.4980
Y: 0.3774
Z: 0.0759
Sample
Colored solution
λ
λ
Beam angle
180 0
Transmitted light measurement
Gaussian bandpass filter
Tλ, Eλ, SACλ, c

## Slide 5
Empty Sample
Absorbance of complementary
colors
I0
IT
Polychromatic light
d
ελ , c
18 channel
spectral sensor
Radiation
Source
Cuvette
Display and processing units
410: 0.66484
435: 0.62345
460: 0.39876
485: 0.16654 …
Sample
Colored solution
λ
λ
Beam angle
180 0
Transmitted light measurement
Gaussian bandpass filter
Tλ, Eλ, SACλ, c

## Slide 6
Color temperature (in K)

## Slide 7
Transmission
Absorption
Scattering
Reflexion

## Slide 8
Transmission
Absorption
Scattering
Reflexion

## Slide 9
Transmission
Reflexion
Scattering

## Slide 10
1.25678
180 0
90 0
Beam angle
Absorbance
Transmitted light measurement
Nephelometric turbidity
Scattered light measurement

## Slide 11
E
c
N
Measurement range
Δc
ΔEλ

## Slide 16
Chart: 
Light source (LED)
Spectrum half width (Δλ)
Light sensor
VEML6070
λ [nm]
TSL2591
IR
UVA
Blue
Red
Green
375
850
626
525
470
9
45
20
40
26
Relative luminous intensity / spectral response

## Slide 17
Chart: 
Relative luminous intensity / spectral response
λ [nm]
Spectrum half width (Δλ)
RGB sensor
TCS34725
465
525
615
Light source (LED)

## Slide 18
Chart: 
Relative luminous intensity / spectral response
λ [nm]
Spectrum half width (Δλ)
Spectral sensor
AS7265x
410
435
460
485
510
535
560
585
610
645
680
705
730
760
810
860
900
940
Light source (LED)