## Slide 1
P2P
ESPEasy P2P Networking
ESP32
smart-IR-Turbidimeter
smart-Colorimeter
smart-UV-Photometer
smart-ORP-Meter
smart-EC-Meter
smart-pH-Meter
ESP32
ESP32
ESP32
ESP32
ESP32
ESP32
P2P
P2P
P2P
P2P
P2P
MQTT-Broker
smart-Thermometer
P2P
smart-RGB-Photometer
IoT
Analyst
Database
ESP32
http

## Slide 2
Analyst
Database
MQTT-Broker
http
mqtt
ESP32
ESP32
ESP32
ESP32
ESP32
ESP32
ESP32
ESP32
smart-IR-Turbidimeter
smart-Colorimeter
smart-UV-Photometer
smart-ORP-Meter
smart-EC-Meter
smart-pH-Meter
smart-Thermometer
smart-RGB-Photometer
IoT
ESPEasy
P2P network
MQTT
subscribe
publish
http

## Slide 3
Empty Sample
Absorbance of complementary
Colors
I0
IT
Monochromatic light of an defined range of wavelengths
d
ελ , c
Light sensor
Radiation
Source
Cuvette
Display and processing units
0.66484
Sample
Colored solution
λ
λ
T, Eλ, SACλ, c
Beam angle
180 0
Transmitted light measurement

## Slide 4
Transmission
Absorption
Scattering

## Slide 5
Transmission
Refexion
Scattering

## Slide 6
1.25678
180 0
90 0
Beam angle
Absorbance
Transmitted light measurement
Nephelometric turbidity
Scattered light measurement

## Slide 7
E
c
N
Measurement range
Δc
ΔEλ

## Slide 9
Chart: 
IR
UVA
Blue
Red
Green
375
850
626
525
470
Light sources (LEDs):
Spectrum half width (Δλ):
9
45
20
40
26

## Slide 10
Warm White LED